## Diagnostic_Summary
Distance_mm | Distance_pct | Sweep1_Mean_V | Sweep1_Std_mV | Sweep2_Mean_V | Sweep2_Std_mV | Sweep3_Mean_V | Sweep3_Std_mV | Mean_V | Mean_mV | Consensus_Mean_V | Consensus_Mean_mV | Across_Sweep_Std_mV | Pooled_SEM_mV | Max_Delta_mV | OLS_Fit_V | Residual_Mean_V | Residual_Mean_pctFS
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.49014 | -0.49014 | -14.8624
5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66421 | -0.66421 | -20.1408
10 | 10 | 0.13111 | 2.6174 | 0.15135 | 2.6949 | 0.065901 | 2.4233 | 0.11612 | 116.121 | 0.11612 | 116.121 | 44.6537 | 25.7809 | 85.4494 | 0.83828 | -0.72216 | -21.8981
15 | 15 | 0.61004 | 3.0693 | 0.62714 | 2.9758 | 0.61814 | 2.9547 | 0.61844 | 618.4427 | 0.61844 | 618.4427 | 8.5545 | 4.939 | 17.1011 | 1.0124 | -0.39391 | -11.9446
20 | 20 | 1.0343 | 2.9623 | 1.0472 | 3.1516 | 1.0166 | 2.9751 | 1.0327 | 1032.6955 | 1.0327 | 1032.6955 | 15.3646 | 8.8708 | 30.6061 | 1.1864 | -0.15373 | -4.6616
25 | 25 | 1.4933 | 2.9648 | 1.4856 | 3.0702 | 1.4793 | 2.9881 | 1.4861 | 1486.0524 | 1.4861 | 1486.0524 | 7.0187 | 4.0522 | 14.0105 | 1.3605 | 0.12555 | 3.8072
30 | 30 | 1.8776 | 3.0089 | 1.8877 | 3.0473 | 1.8998 | 2.9941 | 1.8884 | 1888.3714 | 1.8884 | 1888.3714 | 11.0872 | 6.4012 | 22.1463 | 1.5346 | 0.3538 | 10.7283
35 | 35 | 2.2909 | 3.0603 | 2.3368 | 3.079 | 2.286 | 2.9919 | 2.3046 | 2304.608 | 2.3046 | 2304.608 | 28.0301 | 16.1832 | 50.8195 | 1.7086 | 0.59596 | 18.0714
40 | 40 | 2.6795 | 2.952 | 2.6828 | 3.0386 | 2.6911 | 3.0111 | 2.6845 | 2684.4634 | 2.6845 | 2684.4634 | 5.9982 | 3.4631 | 11.6562 | 1.8827 | 0.80175 | 24.3114
45 | 45 | 2.7464 | 3.0188 | 2.7509 | 3.1101 | 2.751 | 2.989 | 2.7494 | 2749.4077 | 2.7494 | 2749.4077 | 2.6444 | 1.5267 | 4.6571 | 2.0568 | 0.69262 | 21.0023
50 | 50 | 2.8163 | 2.9883 | 2.8132 | 3.064 | 2.8082 | 2.9993 | 2.8126 | 2812.5517 | 2.8126 | 2812.5517 | 4.0824 | 2.357 | 8.0898 | 2.2309 | 0.58169 | 17.6386
55 | 55 | 2.8717 | 2.9666 | 2.8722 | 3.0389 | 2.8726 | 2.9389 | 2.8722 | 2872.188 | 2.8722 | 2872.188 | 0.45139 | 0.26061 | 0.90172 | 2.4049 | 0.46725 | 14.1685
60 | 60 | 2.9343 | 2.9402 | 2.9318 | 2.9949 | 2.932 | 2.9427 | 2.9327 | 2932.7149 | 2.9327 | 2932.7149 | 1.4105 | 0.81434 | 2.5547 | 2.579 | 0.35371 | 10.7255
65 | 65 | 2.9901 | 2.8493 | 2.9893 | 2.8937 | 2.9882 | 2.846 | 2.9892 | 2989.1993 | 2.9892 | 2989.1993 | 0.97176 | 0.56105 | 1.9333 | 2.7531 | 0.23612 | 7.1599
70 | 70 | 3.0473 | 2.8117 | 3.0432 | 2.8065 | 3.0384 | 2.7953 | 3.043 | 3042.9749 | 3.043 | 3042.9749 | 4.459 | 2.5744 | 8.9093 | 2.9272 | 0.11582 | 3.5121
75 | 75 | 3.0972 | 2.7131 | 3.097 | 2.7772 | 3.0964 | 2.6949 | 3.0969 | 3096.8638 | 3.0969 | 3096.8638 | 0.37633 | 0.21727 | 0.72691 | 3.1012 | -0.0043613 | -0.13225
80 | 80 | 3.1545 | 2.5395 | 3.1582 | 2.5735 | 3.1542 | 2.52 | 3.1556 | 3155.6309 | 3.1556 | 3155.6309 | 2.2125 | 1.2774 | 4.0085 | 3.2753 | -0.11967 | -3.6287
85 | 85 | 3.2082 | 2.2829 | 3.2131 | 2.2176 | 3.2061 | 2.251 | 3.2091 | 3209.1081 | 3.2091 | 3209.1081 | 3.5963 | 2.0763 | 7.0028 | 3.4494 | -0.24026 | -7.2855
90 | 90 | 3.26 | 1.7861 | 3.2631 | 1.7514 | 3.2603 | 1.7215 | 3.2611 | 3261.1477 | 3.2611 | 3261.1477 | 1.7384 | 1.0037 | 3.1553 | 3.6234 | -0.3623 | -10.9859
95 | 95 | 3.2982 | 1.3441 | 3.2974 | 1.6469 | 3.2976 | 1.5798 | 3.2977 | 3297.7417 | 3.2977 | 3297.7417 | 0.41857 | 0.24166 | 0.77956 | 3.7975 | -0.49977 | -15.1547
100 | 100 | 3.2983 | 1.7089 | 3.2975 | 1.859 | 3.2977 | 1.8126 | 3.2978 | 3297.8212 | 3.2978 | 3297.8212 | 0.40203 | 0.23211 | 0.75265 | 3.9716 | -0.67377 | -20.4307

## Dataset_1_Sweep_1
Distance_mm | Distance_pct | Mean_Voltage_mV | Mean_Voltage_V | Std_Voltage_mV | Std_Voltage_V | SEM_Voltage_mV | SEM_Voltage_V | Min_Voltage_mV | Max_Voltage_mV | Median_Voltage_mV | Mean_ADC_A0 | Std_ADC_A0 | N_Samples | Filename
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31500 | 0%.mat
5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31500 | 5%.mat
10 | 10 | 131.1125 | 0.13111 | 2.6174 | 0.0026174 | 0.014747 | 1.4747e-05 | 124.9084 | 137.8022 | 130.5495 | 162.6987 | 3.248 | 31500 | 10%.mat
15 | 15 | 610.0425 | 0.61004 | 3.0693 | 0.0030693 | 0.017294 | 1.7294e-05 | 604.3956 | 620.5128 | 610.8425 | 757.0073 | 3.8087 | 31500 | 15%.mat
20 | 20 | 1034.282 | 1.0343 | 2.9623 | 0.0029623 | 0.016691 | 1.6691e-05 | 1028.2784 | 1040.3663 | 1033.1136 | 1283.4499 | 3.676 | 31500 | 20%.mat
25 | 25 | 1493.3081 | 1.4933 | 2.9648 | 0.0029648 | 0.016705 | 1.6705e-05 | 1487.619 | 1498.9011 | 1493.2601 | 1853.0596 | 3.679 | 31500 | 25%.mat
30 | 30 | 1877.621 | 1.8776 | 3.0089 | 0.0030089 | 0.016953 | 1.6953e-05 | 1872.0147 | 1884.1026 | 1876.8498 | 2329.9569 | 3.7337 | 31500 | 30%.mat
35 | 35 | 2290.9437 | 2.2909 | 3.0603 | 0.0030603 | 0.017243 | 1.7243e-05 | 2284.6154 | 2297.5092 | 2290.6593 | 2842.8529 | 3.7976 | 31500 | 35%.mat
40 | 40 | 2679.4542 | 2.6795 | 2.952 | 0.002952 | 0.016633 | 1.6633e-05 | 2673.8462 | 2685.9341 | 2679.4872 | 3324.959 | 3.6632 | 31500 | 40%.mat
45 | 45 | 2746.3556 | 2.7464 | 3.0188 | 0.0030188 | 0.017009 | 1.7009e-05 | 2739.9267 | 2752.8205 | 2745.5678 | 3407.9776 | 3.7461 | 31500 | 45%.mat
50 | 50 | 2816.2781 | 2.8163 | 2.9883 | 0.0029883 | 0.016837 | 1.6837e-05 | 2810.0366 | 2822.9304 | 2815.6777 | 3494.7451 | 3.7082 | 31500 | 50%.mat
55 | 55 | 2871.7245 | 2.8717 | 2.9666 | 0.0029666 | 0.016715 | 1.6715e-05 | 2865.641 | 2878.5348 | 2872.0879 | 3563.549 | 3.6813 | 31500 | 55%.mat
60 | 60 | 2934.3376 | 2.9343 | 2.9402 | 0.0029402 | 0.016566 | 1.6566e-05 | 2927.6923 | 2940.5861 | 2933.3333 | 3641.2462 | 3.6485 | 31500 | 60%.mat
65 | 65 | 2990.1085 | 2.9901 | 2.8493 | 0.0028493 | 0.016054 | 1.6054e-05 | 2984.1026 | 2996.1905 | 2989.7436 | 3710.4528 | 3.5357 | 31500 | 65%.mat
70 | 70 | 3047.3165 | 3.0473 | 2.8117 | 0.0028117 | 0.015842 | 1.5842e-05 | 3041.3187 | 3053.4066 | 3046.9597 | 3781.4427 | 3.489 | 31500 | 70%.mat
75 | 75 | 3097.1709 | 3.0972 | 2.7131 | 0.0027131 | 0.015286 | 1.5286e-05 | 3090.4762 | 3103.37 | 3096.9231 | 3843.3076 | 3.3667 | 31500 | 75%.mat
80 | 80 | 3154.5488 | 3.1545 | 2.5395 | 0.0025395 | 0.014308 | 1.4308e-05 | 3148.4982 | 3160.5861 | 3154.1392 | 3914.5083 | 3.1512 | 31500 | 80%.mat
85 | 85 | 3208.1602 | 3.2082 | 2.2829 | 0.0022829 | 0.012863 | 1.2863e-05 | 3201.685 | 3214.5788 | 3208.1319 | 3981.0351 | 2.8329 | 31500 | 85%.mat
90 | 90 | 3259.9916 | 3.26 | 1.7861 | 0.0017861 | 0.010064 | 1.0064e-05 | 3253.2601 | 3266.9597 | 3259.707 | 4045.3532 | 2.2164 | 31500 | 90%.mat
95 | 95 | 3298.2195 | 3.2982 | 1.3441 | 0.0013441 | 0.0075732 | 7.5732e-06 | 3291.9414 | 3300 | 3298.3883 | 4092.7906 | 1.6679 | 31500 | 95%.mat
100 | 100 | 3298.2792 | 3.2983 | 1.7089 | 0.0017089 | 0.0096285 | 9.6285e-06 | 3290.3297 | 3300 | 3298.3883 | 4092.8646 | 2.1206 | 31500 | 100%.mat

## Dataset_2_Sweep_2
Distance_mm | Distance_pct | Mean_Voltage_mV | Mean_Voltage_V | Std_Voltage_mV | Std_Voltage_V | SEM_Voltage_mV | SEM_Voltage_V | Min_Voltage_mV | Max_Voltage_mV | Median_Voltage_mV | Mean_ADC_A0 | Std_ADC_A0 | N_Samples | Filename
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31500 | 0%.mat
5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31500 | 5%.mat
10 | 10 | 151.3499 | 0.15135 | 2.6949 | 0.0026949 | 0.015184 | 1.5184e-05 | 143.4432 | 157.9487 | 150.696 | 187.8115 | 3.3442 | 31500 | 10%.mat
15 | 15 | 627.1436 | 0.62714 | 2.9758 | 0.0029758 | 0.016767 | 1.6767e-05 | 620.5128 | 634.2125 | 626.9597 | 778.2282 | 3.6928 | 31500 | 15%.mat
20 | 20 | 1047.2052 | 1.0472 | 3.1516 | 0.0031516 | 0.017757 | 1.7757e-05 | 1039.5604 | 1055.6777 | 1046.8132 | 1299.4865 | 3.9108 | 31500 | 20%.mat
25 | 25 | 1485.5516 | 1.4856 | 3.0702 | 0.0030702 | 0.017299 | 1.7299e-05 | 1477.9487 | 1493.2601 | 1485.2015 | 1843.4345 | 3.8099 | 31500 | 25%.mat
30 | 30 | 1887.7261 | 1.8877 | 3.0473 | 0.0030473 | 0.01717 | 1.717e-05 | 1880.8791 | 1895.3846 | 1887.326 | 2342.4965 | 3.7815 | 31500 | 30%.mat
35 | 35 | 2336.8498 | 2.3368 | 3.079 | 0.003079 | 0.017348 | 1.7348e-05 | 2328.9377 | 2343.4432 | 2336.9963 | 2899.8182 | 3.8208 | 31500 | 35%.mat
40 | 40 | 2682.8257 | 2.6828 | 3.0386 | 0.0030386 | 0.01712 | 1.712e-05 | 2674.652 | 2689.9634 | 2682.7106 | 3329.1428 | 3.7706 | 31500 | 40%.mat
45 | 45 | 2750.8548 | 2.7509 | 3.1101 | 0.0031101 | 0.026157 | 2.6157e-05 | 2743.1502 | 2758.4615 | 2750.4029 | 3413.5607 | 3.8593 | 14138 | 45%.mat
50 | 50 | 2813.1886 | 2.8132 | 3.064 | 0.003064 | 0.017264 | 1.7264e-05 | 2806.0073 | 2820.5128 | 2813.2601 | 3490.9114 | 3.8022 | 31500 | 50%.mat
55 | 55 | 2872.2132 | 2.8722 | 3.0389 | 0.0030389 | 0.017122 | 1.7122e-05 | 2864.8352 | 2880.1465 | 2872.0879 | 3564.1555 | 3.771 | 31500 | 55%.mat
60 | 60 | 2931.7829 | 2.9318 | 2.9949 | 0.0029949 | 0.016874 | 1.6874e-05 | 2924.4689 | 2938.9744 | 2931.7216 | 3638.0761 | 3.7164 | 31500 | 60%.mat
65 | 65 | 2989.3142 | 2.9893 | 2.8937 | 0.0028937 | 0.016304 | 1.6304e-05 | 2981.685 | 2996.1905 | 2988.9377 | 3709.4672 | 3.5908 | 31500 | 65%.mat
70 | 70 | 3043.2011 | 3.0432 | 2.8065 | 0.0028065 | 0.015813 | 1.5813e-05 | 3035.6777 | 3050.989 | 3042.9304 | 3776.336 | 3.4827 | 31500 | 70%.mat
75 | 75 | 3096.9765 | 3.097 | 2.7772 | 0.0027772 | 0.015648 | 1.5648e-05 | 3089.6703 | 3104.1758 | 3096.9231 | 3843.0663 | 3.4463 | 31500 | 75%.mat
80 | 80 | 3158.1762 | 3.1582 | 2.5735 | 0.0025735 | 0.0145 | 1.45e-05 | 3150.9158 | 3165.4212 | 3158.1685 | 3919.0096 | 3.1935 | 31500 | 80%.mat
85 | 85 | 3213.0834 | 3.2131 | 2.2176 | 0.0022176 | 0.012495 | 1.2495e-05 | 3205.7143 | 3220.2198 | 3212.967 | 3987.1444 | 2.7518 | 31500 | 85%.mat
90 | 90 | 3263.1469 | 3.2631 | 1.7514 | 0.0017514 | 0.0098678 | 9.8678e-06 | 3256.4835 | 3270.1832 | 3262.9304 | 4049.2687 | 2.1733 | 31500 | 90%.mat
95 | 95 | 3297.44 | 3.2974 | 1.6469 | 0.0016469 | 0.0092791 | 9.2791e-06 | 3290.3297 | 3300 | 3297.5824 | 4091.8232 | 2.0436 | 31500 | 95%.mat
100 | 100 | 3297.5265 | 3.2975 | 1.859 | 0.001859 | 0.010475 | 1.0475e-05 | 3291.1355 | 3300 | 3297.5824 | 4091.9306 | 2.3069 | 31500 | 100%.mat

## Dataset_3_Sweep_3
Distance_mm | Distance_pct | Mean_Voltage_mV | Mean_Voltage_V | Std_Voltage_mV | Std_Voltage_V | SEM_Voltage_mV | SEM_Voltage_V | Min_Voltage_mV | Max_Voltage_mV | Median_Voltage_mV | Mean_ADC_A0 | Std_ADC_A0 | N_Samples | Filename
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31500 | 0%.mat
5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31500 | 5%.mat
10 | 10 | 65.9006 | 0.065901 | 2.4233 | 0.0024233 | 0.013654 | 1.3654e-05 | 58.8278 | 72.5275 | 66.0806 | 81.7766 | 3.0071 | 31500 | 10%.mat
15 | 15 | 618.1421 | 0.61814 | 2.9547 | 0.0029547 | 0.016648 | 1.6648e-05 | 611.6484 | 624.5421 | 617.2894 | 767.0581 | 3.6665 | 31500 | 15%.mat
20 | 20 | 1016.5991 | 1.0166 | 2.9751 | 0.0029751 | 0.016763 | 1.6763e-05 | 1011.3553 | 1022.6374 | 1015.3846 | 1261.5071 | 3.6919 | 31500 | 20%.mat
25 | 25 | 1479.2975 | 1.4793 | 2.9881 | 0.0029881 | 0.016836 | 1.6836e-05 | 1473.9194 | 1485.2015 | 1479.5604 | 1835.6738 | 3.708 | 31500 | 25%.mat
30 | 30 | 1899.7672 | 1.8998 | 2.9941 | 0.0029941 | 0.01687 | 1.687e-05 | 1894.5788 | 1905.0549 | 1898.6081 | 2357.4384 | 3.7154 | 31500 | 30%.mat
35 | 35 | 2286.0304 | 2.286 | 2.9919 | 0.0029919 | 0.016857 | 1.6857e-05 | 2280.5861 | 2291.0623 | 2285.4212 | 2836.7559 | 3.7127 | 31500 | 35%.mat
40 | 40 | 2691.1104 | 2.6911 | 3.0111 | 0.0030111 | 0.016966 | 1.6966e-05 | 2685.1282 | 2697.2161 | 2689.9634 | 3339.4233 | 3.7366 | 31500 | 40%.mat
45 | 45 | 2751.0127 | 2.751 | 2.989 | 0.002989 | 0.016841 | 1.6841e-05 | 2744.7619 | 2756.8498 | 2749.5971 | 3413.7567 | 3.709 | 31500 | 45%.mat
50 | 50 | 2808.1882 | 2.8082 | 2.9993 | 0.0029993 | 0.016899 | 1.6899e-05 | 2801.978 | 2814.8718 | 2806.8132 | 3484.7063 | 3.7219 | 31500 | 50%.mat
55 | 55 | 2872.6262 | 2.8726 | 2.9389 | 0.0029389 | 0.016559 | 1.6559e-05 | 2866.4469 | 2878.5348 | 2872.0879 | 3564.668 | 3.6469 | 31500 | 55%.mat
60 | 60 | 2932.0241 | 2.932 | 2.9427 | 0.0029427 | 0.01658 | 1.658e-05 | 2926.0806 | 2938.1685 | 2930.9158 | 3638.3753 | 3.6516 | 31500 | 60%.mat
65 | 65 | 2988.1752 | 2.9882 | 2.846 | 0.002846 | 0.016035 | 1.6035e-05 | 2982.4908 | 2993.7729 | 2987.326 | 3708.0538 | 3.5316 | 31500 | 65%.mat
70 | 70 | 3038.4071 | 3.0384 | 2.7953 | 0.0027953 | 0.01575 | 1.575e-05 | 3032.4542 | 3044.5421 | 3038.0952 | 3770.387 | 3.4687 | 31500 | 70%.mat
75 | 75 | 3096.444 | 3.0964 | 2.6949 | 0.0026949 | 0.015184 | 1.5184e-05 | 3090.4762 | 3102.5641 | 3096.1172 | 3842.4056 | 3.3442 | 31500 | 75%.mat
80 | 80 | 3154.1677 | 3.1542 | 2.52 | 0.00252 | 0.014198 | 1.4198e-05 | 3147.6923 | 3160.5861 | 3154.1392 | 3914.0354 | 3.1271 | 31500 | 80%.mat
85 | 85 | 3206.0806 | 3.2061 | 2.251 | 0.002251 | 0.012683 | 1.2683e-05 | 3200.0733 | 3212.1612 | 3205.7143 | 3978.4546 | 2.7933 | 31500 | 85%.mat
90 | 90 | 3260.3046 | 3.2603 | 1.7215 | 0.0017215 | 0.0096997 | 9.6997e-06 | 3254.0659 | 3266.9597 | 3260.5128 | 4045.7416 | 2.1363 | 31500 | 90%.mat
95 | 95 | 3297.5655 | 3.2976 | 1.5798 | 0.0015798 | 0.008901 | 8.901e-06 | 3291.1355 | 3300 | 3297.5824 | 4091.979 | 1.9604 | 31500 | 95%.mat
100 | 100 | 3297.6578 | 3.2977 | 1.8126 | 0.0018126 | 0.010213 | 1.0213e-05 | 3291.1355 | 3300 | 3297.5824 | 4092.0936 | 2.2493 | 31500 | 100%.mat

## Sensor_Characteristics
Characteristic | Value
Total Evaluated Points | 21
Number of Experimental Datasets | 3
Total Replicate Observations | 63
Evaluated Travel Range (%) | 0 to 100%
Full Scale Output Span FS (V) | 3.2978
Full Scale Output Span FS (mV) | 3297.8212
Output Voltage at 50% Travel (V) | 2.8126
Output Voltage at 50% Travel (% FS) | 85.2851
Empirical Response Profile | Nonlinear (rapid initial rise, 85.3% FS at 50% midpoint, no verified manufacturer taper)
Mean-Curve OLS Fit Slope (V/%) | 0.034815
Mean-Curve OLS Fit Slope (mV/%) | 34.8145
Mean-Curve OLS Fit Intercept (V) | 0.49014
Mean-Curve Fit SSE (V^2) | 4.6584
Mean-Curve Fit SST (V^2) | 27.9903
Mean-Curve Linear Fit (R^2) | 0.83357
Mean-Curve RMSE [df=19 denominator] (V) | 0.49515
Mean-Curve RMSE [N=21 denominator] (V) | 0.47099
Mean-Curve Max Linearity Error (% FS) | 24.3114
Mean-Curve Max Linearity Error (V) | 0.80175
Position of Max Residual (%) | 40
Pooled OLS Fit Slope (mV/%) | 34.8145
Pooled OLS Fit Intercept (V) | 0.49014
Pooled Fit SSE (V^2) | 13.9818
Pooled Fit SST (V^2) | 83.9778
Pooled Fit (R^2) | 0.83351
Pooled Fit RMSE [df=61 denominator] (V) | 0.47876
Pooled Fit RMSE [N=63 denominator] (V) | 0.4711
Pooled Max Linearity Error (% FS) | 24.513
Pooled Max Linearity Error (V) | 0.80839
Average Endpoint Sensitivity (mV/%) | 32.9782
Interval Sensitivity 10-40% Travel (mV/%) | 85.6114
Interval Sensitivity 45-90% Travel (mV/%) | 11.372
Sensitivity Ratio (10-40% / 45-90%) | 7.5283
Pure Error Sum of Squares SS_PE (V^2) | 0.0067301
Lack-of-Fit Sum of Squares SS_LOF (V^2) | 13.9751
Lack-of-Fit Degrees of Freedom | 19
Pure Error Degrees of Freedom | 42
Lack-of-Fit F-Statistic | 4590.1487
Lack-of-Fit p-value | 1.6916e-63
Mean Delta across Sweeps (mV) | 13.1077
Maximum Delta across Sweeps (mV) | 85.4494
Position of Maximum Delta (%) | 10
Average Inter-Sweep Correlation (r) | 0.99991